{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Introduction","Lagoon","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Introduction","index":0,"n_rows":6,"n_cols":3,"rows_kept":6,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[null,null,"RTI's Lagoon Creator"]

{"sheet":"Lagoon","index":1,"n_rows":38,"n_cols":33,"rows_kept":38,"cut":false,"hidden":false,"merged":[[37,57,37,58],[4,2,5,3],[26,2,27,3],[31,45,31,46],[11,11,11,12],[11,28,11,29],[11,43,11,44],[31,43,31,44],[31,58,31,59],[34,20,34,21],[33,20,33,21],[31,30,31,31],[31,75,31,76],[31,60,31,61],[33,65,33,66],[34,65,34,66],[4,52,4,53],[5,52,5,53],[6,52,6,53],[11,73,11,74],[12,65,12,66],[4,67,4,68],[5,67,5,68],[6,67,6,68]]}
["2 Pond Lagoon"]
[]
[null,null,"Cell 1: Facultative Lagoon",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Cell 2: Aerobic Lagoon"]
[]
[null,null,"Plan View",null,"Linear Area:",1901.9854568370049,"m²",null,null,null,null,null,null,null,null,null,null,null,null,"Linear Area:",null,null,1665.9566735027925,"m²"]
[null,null,null,null,"Linear Length:",75.537781080139055,"m",null,null,null,null,null,null,null,null,null,null,null,null,"Linear Length:",null,null,70.695615284884383,"m"]
[null,null,null,null,"Linear Width:",25.179260360046353,"m",null,null,null,null,null,null,null,null,null,null,null,null,"Linear Width:",null,null,23.56520509496146,"m"]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,23.269829264476623,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,22.360450045526854]
[null,null,null,"Surface Area:",1624.4548619936777,null,null,null,null,null,null,null,null,null,null,null,null,"Surface Area:",null,1499.9691787155057]
["Inflow BOD:",300,null,null,null,null,null,null,null,null,null,null,"Outflow BOD",75,"Inflow BOD",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Outflow BOD",null,37.5,"mg/L"]
["mg/L",null,null,null,null,null,null,null,null,null,21.869829264476625,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,21.493783378860186]
[null,"Influent",null,null,null,null,null,null,null,null,null,null,"Effluent",null,"influent",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Effluent"]
[]
[]
[]
[]
[null,null,null,null,null,null,68.409487793429861,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66.214683469913908]
[]
[null,null,null,null,null,null,69.809487793429867,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,67.081350136580568]
[]
[]
[]
[null,null,"Profile View"]
[]
[]
[null,null,null,null,null,null,69.809487793429867,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,67.081350136580568]
[]
["Inflow BOD:",300,null,null,null,null,null,null,null,null,null,"Outflow BOD:",null,75,"Inflow BOD",null,null,null,null,null,null,null,null,null,null,null,null,null,"Outflow BOD:",null,37.5,null,"mg/L"]
[]
[null,"Influent",null,"Volume:",3345.0839121491626,null,null,null,null,"Depth:",2.1,"Effluent",null,null,"Influent",null,null,null,null,"Volume:",1902.1743848942372,null,null,null,null,"Depth:",1.3,null,"Effluent"]
[null,null,null,"Detention Time:",10.853851946486385,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Detention Time:",5]
[]
[]
[null,null,null,null,null,null,null,null,null,null,0.70000000000000007,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.43333333333333335]

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}